# Lab #8:  Solutions, Dilutions and Beer’s Law

In this lab, you will be learning three techniques that involve concentrations.  First you will learn the proper way to make a solution.  Then you will learn the procedure for making a dilution.  And finally you will learn how to use a spectrophotometer in order to determine the value of an unknown concentration.  The mixtures you will be making will be copper (II) sulfate solutions.  After you are done with the lab, you will use Beer’s Law to calculate the molarity of an unknown copper (II) sulfate solution.

We will make a specific concentration of copper (II) sulfate using the formula:

M= moles/liter

And we will determine the grams of the sample needed by converting moles to grams.

We will then make dilutions of the original sample (called a Stock Solution) by using the dilution formula:

M1V1 = M2V2

where  M1 is the molarity of the original solution 								V1 is the volume you are using from that solution, 							V2 is the new volume of the new diluted solution you are making and				M2 is the molarity of the new diluted solution

Once we have made all of the different solutions we will then use Beer’s Law to determine the concentration of an unknown molarity of copper(II) sulfate, by using a spectrophotometer.  Beer's Law states that the absorbance (A) of a species at a particular wavelength of electromagnetic radiation, λ, is proportional to the concentration (c) of the absorbing species and to the length of the path (b) of the electromagnetic radiation through the sample containing the absorbing species.  The proportionality constant (a) is called the molar absorptivity.  This can be written in the form:

A = a x b x c

Spectroscopy is a technique that allows you to measure the amount of light that is absorbed or transmitted as it passes through a sample.  A spectrophotometer is a device that measures the amount of light (electromagnetic radiation) a solution (sample) absorbs. We will be using a simple spectrophotometer to measure the amount of light your samples absorb. A sample put into the path of an electromagnetic ray absorbs a quantity of energy from that ray and transmits the remaining energy. The amount of transmitted energy is always less than the amount of incident energy.

A detector within the spectrophotometer measures the amount of light transmitted.  However, you will measure the absorbance of light in several solutions, and from those measurements you will calculate molar absorptivity.

In this experiment you will learn to make solutions and dilutions of a colored compound.  Then you will use a spectrophotometer to measure the absorbances of each solution.  You will then plot a graph of Absorbance vs. Concentration and from the slope of that graph you will determine the molar absorptivity (a).  Finally you will be given an unknown concentration of your colored compound and you will have to determine that compound’s concentration using Beer’s Law.

Objective

How do we make a simple solution?  How do we make dilutions from a solution?  How do we determine the concentration of an unknown solution from known concentrations of a sample?

## Safety

Always wear safety goggles.  Wash hands before leaving the lab.

Materials

Copper(II) sulfate pentahydrate		distilled water	 	balance

three 10-mLvolumetric flasks		disposable pipets	Kimwipes

100-mL volumetric flasks 		weighing boats 	spectrophotometer

5-mL volumetric pipet 		cuvettes		labels

Pipette bulb		100-mLbeakers

Procedure

Part A – Solutions

- Using a balance and weighing boat, mass out enough CuSO4·5H2O (copper(II) sulfate pentahydrate) to make a 0.10M Stock Solution in a 100-mL volumetric flask.

- Once you have the correct amount of sample, carefully pour the solid into a beaker and then rinse the weighing boat with distilled water into the beaker.  Rinse the weighing boat several times.  Also rinse the scoopula into the beaker as well.

- Add about 50 mL of distilled water to the beaker and then stir it with a stirring rod until all of the solid is dissolved.

- Using a funnel, pour the solution into the 100-mL volumetric flask.

- Rinse the beaker and the stirring rod several times with distilled water into the 100-ml volumetric flask.

- Using a pipet, dilute up to mark (meniscus line) with distilled water.  Do NOT go past the meniscus.  (If you overshoot, you will have to do the whole lab over).

- Label your volumetric flask with the concentration and your group name so it can be identified for use the next day.

Part B – Dilutions

- Using your 0.10M Stock solution, make the following dilutions using a volumetric pipet:

0.010 M in a 10-mL volumetric flask,

0.020 M in a 10-mL volumetric flask,

0.050 M in a 10-mL volumetric flask

You will need to use a volumetric pipet and a rubber bulb in order to do these dilutions.

Your teacher will demonstrate the proper technique.  Be sure not to draw liquid into the

pipette pump; that will ruin the pipette pump.  Once you have pipetted the proper 			  amount, evacuate the liquid into the new 10-mLvolumetric flasks and dilute up to mark

with distilled water using a pipet.

- Label each volumetric flask with the correct concentration.

Part C – Using a Spectrophotometer

- Turn on the spectrophotometer and let it warm up for 15 minutes.

- Set the wavelength to 635 nm using the Wavelength Dial.

- Set the Filter Position Lever to 600 -950 nm.

- Using the 0%T Dial, set the % Transmittance to read 0.0.

- Fill a cuvette with distilled water.  Clean the outside of the cuvette with a Kimwipe to remove oil from fingerprints left on the cuvette.  Insert the cuvette correctly into the cuvette slot. (See Teacher for help).

- Use the 100%T / 0A Dial to set the Transmittance to read 100.0.

- Press the Mode Button on the Spectrophotometer to change it to read Absorbance. It should read .000.  Record this number.

- Remove the cuvette with distilled water.

- Rinse the cuvette with your 0.10M CuSO4 sample and then add a sufficient amount of it to the cuvette.  Make sure to clean the outside of the cuvette with a Kimwipe.

- Record the absorbance of your 0.10M CuSO4 sample.

- Rinse the cuvette with your 0.050M CuSO4 sample and then add a sufficient amount of it to the cuvette.  Make sure to clean the outside of the cuvette with a Kimwipe.

- Record the absorbance of the 0.050M CuSO4 sample.

- Rinse the cuvette with your 0.020M CuSO4 sample and then add a sufficient amount of it to the cuvette.  Make sure to clean the outside of the cuvette with a Kimwipe.

- Record the absorbance of the 0.020M CuSO4 sample.

- Rinse the cuvette with your 0.010M CuSO4 sample and then add a sufficient amount of it to the cuvette.  Make sure to clean the outside of the cuvette with a Kimwipe.

- Record the absorbance of the 0.010M CuSO4 sample.

- Use Beer’s Law to calculate the molar absorptivity of your cobalt chloride samples.

- Rinse the cuvette with your unknown CuSO4 sample and then add a sufficient amount of it to the cuvette.  Make sure to clean the outside of the cuvette with a Kimwipe.

- Record the absorbance of the unknown CuSO4 sample.

Part D – Testing the Unknown

- Using your molar absorptivity calculation, find the unknown concentration of a

CuSO4·5H2O sample which will be provided by your teacher.  You will need to use the spectrophotometer to find the unknown’s absorbance.  Follow the same procedure you used for the known concentrations.

### Data - 	Dilution Data

Mass of CuSO4·5H2O used to make 0.10M solution in a 100-mL	___________ grams

Volume of 0.010M solution used to make a100 mL of solution	 ___________	 mL

Volume of 0.020M solution used to make a100 mL of solution	 ___________	 mL

Volume of 0.050M solution used to make a100 mL of solution	 ___________ mL

Spectrophotometry Data

Absorbance

Distilled Water at 650 nm	__________

0.010M CuSO4·5H2O solution at 635 nm	__________

0.020M CuSO4·5H2O solution at 635 nm	__________

0.050M CuSO4·5H2O solution at 635 nm	__________

0.10M CuSO4·5H2O solution at 635 nm 	__________

Unknown CuSO4·5H2O solution at 635 nm	__________

Calculations

- Show your calculations for determining the grams needed to make 0.10M CuSO4·5H2O solution in a 100-mL volumetric flask.

- Show your calculations for determining the volume used for all of your dilutions.

- Make a graph using Excel to plot Absorbance vs. Concentration of your CuSO4·5H2O solutions.  Make Concentration the x-axis.

- Using the trendline function make a linear best fit line for your graph.  Your teacher will demonstrate how to do this.

- Using the line equation from your graph to calculate the concentration of your unknown solution. (Note the slope of your line is actually the molar absorptivity of your sample).

Discussion

- What steps are required to make a true solution?

- What steps are required to make a dilution?

- Determine molar absorptivity from the slope of the correct graph. (Remember units).

- What was the concentration of your unknown sample and how did you determine this?

- How does this relate to Beer's Law?

Additional Discussion Questions

NOTE: when handing in the formal lab, you must write down the questions as well as the answers.  They must ALWAYS be in complete sentences.

- Write out Beer’s Law and define each term.

- Describe absorbance and how it relates to how light is transmitted through solutions of various concentrations.

- Why was the wavelength on the spectrophotometer set to 635 nm?

- Explain how Beer’s Law is used to determine the concentration of an unknown sample.

- How would you make exactly 250 mL of a 0.080 M CuSO4·5H2O solution using solid CuSO4·5H2O?

- Indicate how you would prepare 50.00 mL of 0.040M CuSO4·5H2O from the 0.080 M solution in question #5.